## data
primemover | fuel | index | fuel_general | overnight_d | overnight_c
AB | BIT | ABBIT | coal | CT | coal
AB | LIG | ABLIG | coal | CT | coal
AB | SUB | ABSUB | coal | CT | coal
AB | WC | ABWC | coal | CT | coal
AB | WD | ABWD | biomass | conventional | biomass
BA | MWH | BAMWH | other | . | .
BT | GEO | BTGEO | geothermal | binary | geothermal
BT | WH | BTWH | other | . | .
CA | BIT | CABIT | coal | CC | coal
CA | DFO | CADFO | petroleum | CC | CC
CA | FO2 | CAFO2 | petroleum | CC | CC
CA | FO6 | CAFO6 | petroleum | CC | CC
CA | JF | CAJF | petroleum | CC | CC
CA | LFG | CALFG | gas | CC | CC
CA | NG | CANG | gas | CC | CC
CA | OBG | CAOBG | gas | CC | CC
CA | OG | CAOG | gas | CC | CC
CA | OTH | CAOTH | other | . | .
CA | PUR | CAPUR | other | . | .
CA | RFO | CARFO | petroleum | CC | CC
CA | SG | CASG | gas | CC | CC
CA | SGC | CASGC | gas | CC | CC
CA | SGP | CASGP | gas | CC | CC
CA | WDS | CAWDS | biomass | conventional | biomass
CA | WH | CAWH | other | . | .
CA | WO | CAWO | petroleum | CC | CC
CC | BIT | CCBIT | coal | CC | coal
CC | NG | CCNG | gas | CC | CC
CE | NG | CENG | gas | storage | OTH
CG | NG | CGNG | gas | OTH | OTH
CH | ANT | CHANT | coal | ST | coal
CH | BIT | CHBIT | coal | ST | coal
CH | MF | CHMF | other | . | .
CH | NG | CHNG | gas | ST | ST
CH | SUB | CHSUB | coal | ST | coal
CH | WC | CHWC | coal | ST | coal
CH | WD | CHWD | biomass | conventional | biomass
CP | SUN | CPSUN | solar | solar_thermal | solar_thermal
CS | DFO | CSDFO | petroleum | CT | CT
CS | NG | CSNG | gas | CT | CT
CT | BIT | CTBIT | coal | CC | coal
CT | DFO | CTDFO | petroleum | CC | CC
CT | FO2 | CTFO2 | petroleum | CC | CC
CT | JF | CTJF | petroleum | CC | CC
CT | LFG | CTLFG | gas | CC | CC
CT | NG | CTNG | gas | CC | CC
CT | OBG | CTOBG | gas | CC | CC
CT | OG | CTOG | gas | CC | CC
CT | RFO | CTRFO | petroleum | CC | CC
CT | SG | CTSG | gas | CC | CC
CT | SGC | CTSGC | gas | CC | CC
CT | SGP | CTSGP | gas | CC | CC
CT | WH | CTWH | other | . | .
CT | WO | CTWO | petroleum | CC | CC
CW | BIT | CWBIT | coal | CC | coal
CW | FO2 | CWFO2 | petroleum | CC | CC
CW | NG | CWNG | gas | CC | CC
CW | WH | CWWH | other | . | .
FC | LFG | FCLFG | gas | storage | FC
FC | NG | FCNG | gas | storage | FC
FC | OBG | FCOBG | gas | storage | FC
FW | MWH | FWMWH | other | . | .
GE | GST | GEGST | geothermal | ST | geothermal
GT | DFO | GTDFO | petroleum | CT | CT
GT | FO1 | GTFO1 | petroleum | CT | CT
GT | FO2 | GTFO2 | petroleum | CT | CT
GT | FO4 | GTFO4 | petroleum | CT | CT
GT | FO6 | GTFO6 | petroleum | CT | CT
GT | JF | GTJF | petroleum | CT | CT
GT | KER | GTKER | petroleum | CT | CT
GT | LFG | GTLFG | gas | CT | CT
GT | LPG | GTLPG | gas | CT | CT
GT | NG | GTNG | gas | CT | CT
GT | OBG | GTOBG | gas | CT | CT
GT | OBL | GTOBL | petroleum | CT | CT
GT | OG | GTOG | gas | CT | CT
GT | OO | GTOO | other | . | .
GT | OTH | GTOTH | other | . | .
GT | PC | GTPC | coal | CT | coal
GT | PG | GTPG | petroleum | CT | CT
GT | RFO | GTRFO | petroleum | CT | CT
GT | RG | GTRG | gas | CT | CT
GT | WH | GTWH | other | . | .
GT | WO | GTWO | petroleum | CT | CT
HL | WAT | HLWAT | water | hydro | hydro
HR | WAT | HRWAT | water | hydro | hydro
HY | WAT | HYWAT | water | hydro | hydro
IC | DFO | ICDFO | petroleum | CT | CT
IC | FO1 | ICFO1 | petroleum | CT | CT
IC | FO2 | ICFO2 | petroleum | CT | CT
IC | FO4 | ICFO4 | petroleum | CT | CT
IC | FO5 | ICFO5 | petroleum | CT | CT
IC | FO6 | ICFO6 | petroleum | CT | CT
IC | JF | ICJF | petroleum | CT | CT
IC | LFG | ICLFG | gas | CT | CT
IC | MSW | ICMSW | MSW | MSW | MSW
IC | MTE | ICMTE | gas | CT | CT
IC | NG | ICNG | gas | CT | CT
IC | OBG | ICOBG | gas | CT | CT
IC | OBL | ICOBL | petroleum | CT | CT
IC | OG | ICOG | gas | CT | CT
IC | OT | ICOT | other | . | .
IC | OTH | ICOTH | other | . | .
IC | REF | ICREF | biomass | conventional | biomass
IC | RFO | ICRFO | petroleum | CT | CT
IC | SLW | ICSLW | biomass | conventional | biomass
IC | WO | ICWO | petroleum | CT | CT
IG | BIT | IGBIT | coal | IGCC | IGCC
IG | SNG | IGSNG | gas | IGCC | IGCC
JE | FO1 | JEFO1 | petroleum | CT | CT
JE | FO2 | JEFO2 | petroleum | CT | CT
JE | JF | JEJF | petroleum | CT | CT
JE | KER | JEKER | petroleum | CT | CT
JE | NG | JENG | gas | CT | CT
NB | UR | NBUR | nuclear | ST | nuclear
NP | UR | NPUR | nuclear | ST | nuclear
OT | BFG | OTBFG | gas | OTH | OTH
OT | GEO | OTGEO | geothermal | OTH | geothermal
OT | JF | OTJF | petroleum | OTH | OTH
OT | KER | OTKER | petroleum | OTH | OTH
OT | LFG | OTLFG | gas | OTH | OTH
OT | NG | OTNG | gas | OTH | OTH
OT | OG | OTOG | gas | OTH | OTH
OT | OT | OTOT | other | . | .
OT | OTH | OTOTH | other | . | .
OT | PC | OTPC | coal | OTH | coal
OT | REF | OTREF | biomass | conventional | biomass
OT | SUB | OTSUB | coal | OTH | coal
OT | SUN | OTSUN | solar | solar_thermal | solar_thermal
OT | WDS | OTWDS | biomass | conventional | biomass
OT | WH | OTWH | other | . | .
PS | WAT | PSWAT | water | hydro | hydro
PV | SUN | PVSUN | solar | PV | PV
SP | SUN | SPSUN | solar | PV | PV
ST | AB | STAB | biomass | conventional | biomass
ST | ANT | STANT | coal | ST | coal
ST | BFG | STBFG | gas | ST | ST
ST | BIT | STBIT | coal | ST | coal
ST | BLQ | STBLQ | biomass | conventional | biomass
ST | DFO | STDFO | petroleum | ST | ST
ST | FO1 | STFO1 | petroleum | ST | ST
ST | FO2 | STFO2 | petroleum | ST | ST
ST | FO4 | STFO4 | petroleum | ST | ST
ST | FO6 | STFO6 | petroleum | ST | ST
ST | GEO | STGEO | geothermal | ST | geothermal
ST | LFG | STLFG | gas | ST | ST
ST | LIG | STLIG | coal | ST | coal
ST | LPG | STLPG | gas | ST | ST
ST | MF | STMF | other | . | .
ST | MSW | STMSW | MSW | MSW | MSW
ST | NG | STNG | gas | ST | ST
ST | NUC | STNUC | nuclear | ST | nuclear
ST | OBG | STOBG | gas | ST | ST
ST | OBS | STOBS | biomass | conventional | biomass
ST | OG | STOG | gas | ST | ST
ST | OTH | STOTH | other | . | .
ST | PC | STPC | coal | ST | coal
ST | PUR | STPUR | other | . | .
ST | RC | STRC | coal | ST | coal
ST | REF | STREF | biomass | conventional | biomass
ST | RFO | STRFO | petroleum | ST | ST
ST | SC | STSC | coal | ST | coal
ST | SLW | STSLW | biomass | conventional | biomass
ST | SNG | STSNG | gas | ST | ST
ST | SUB | STSUB | coal | ST | coal
ST | SUN | STSUN | solar | solar_thermal | solar_thermal
ST | TDF | STTDF | other | . | .
ST | WC | STWC | coal | ST | coal
ST | WD | STWD | biomass | conventional | biomass
ST | WDL | STWDL | biomass | conventional | biomass
ST | WDS | STWDS | biomass | conventional | biomass
ST | WH | STWH | other | . | .
ST | WO | STWO | petroleum | ST | ST
WS | WND | WSWND | wind | wind | wind
WT | WND | WTWND | wind | wind | wind

## Technology
Prime Mover Code | Description
BA | Energy Storage, Battery
CE | Energy Storage, Compressed Air
CP | Energy Storage, Concentrated Solar Power
FW | Energy Storage, Flywheel
PS | Energy Storage, Reversible Hydraulic Turbine (Pumped Storage)
ES | Energy Storage, Other (specify in SCHEDULE 7)
ST | Steam Turbine, including nuclear, geothermal and solar steam (does not include combined cycle)
GT | Combustion (Gas) Turbine (does not include the combustion turbine part of a combined cycle; see code CT, below)
IC | Internal Combustion Engine (diesel, piston, reciprocating)
CA | Combined Cycle Steam Part
CT | Combined Cycle Combustion Turbine Part
CS | Combined Cycle Single Shaft (combustion turbine and steam turbine share a single generator)
CC | Combined Cycle Total Unit (use only for plants/generators that are in planning stage, for which specific generator details cannot be provided)
HA | Hydrokinetic, Axial Flow Turbine
HB | Hydrokinetic, Wave Buoy
HK | Hydrokinetic, Other (specify in SCHEDULE 7)
HY | Hydroelectric Turbine (includes turbines associated with delivery of water by pipeline)
BT | Turbines Used in a Binary Cycle (including those used for geothermal applications)
PV | Photovoltaic
WT | Wind Turbine, Onshore
WS | Wind Turbine, Offshore
FC | Fuel Cell
OT | Other (specify in SCHEDULE 7)

## Fuel
Energy Source Code | Fuel Type | Desc
ANT | coal | Anthracite Coal
BIT | coal | Bituminous Coal
LIG | coal | Lignite Coal
SGC | coal | Coal-Derived Synthesis Gas
SUB | coal | Subbituminous Coal
WC | coal | Waste/Other Coal (incl. anthracite culm, bituminous gob, fine coal, lignite waste, waste coal)
RC | coal | Refined Coal
DFO | petrl_prod | Distillate Fuel Oil (including diesel, No. 1, No. 2, and No. 4 fuel oils)
JF | petrl_prod | Jet Fuel
KER | petrl_prod | Kerosene
PC | petrl_prod | Petroleum Coke
PG | petrl_prod | Gaseous Propane
RFO | petrl_prod | Residual Fuel Oil (incl. Nos. 5 & 6 fuel oils, and bunker C fuel oil)
SGP | petrl_prod | Synthesis Gas from Petroleum Coke
WO | petrl_prod | Waste/Other Oil (including crude oil, liquid butane, liquid propane, naphtha, oil waste, re-refined motor oil, sludge oil, tar oil, or other petroleum-based liquid wastes)
BFG | natural_gas | Blast Furnace Gas
NG | natural_gas | Natural Gas
OG | natural_gas | Other Gas (specify in SCHEDULE 7)
AB | solid_renew | Agricultural By-Products
MSW | solid_renew | Municipal Solid Waste
OBS | solid_renew | Other Biomass Solids (specify in SCHEDULE 7)
WDS | solid_renew | Wood/Wood Waste Solids (incl. paper pellets, railroad ties, utility poles, wood chips, bark, and wood waste solids)
OBL | liquid_renew_biomass | Other Biomass Liquids (specify in SCHEDULE 7)
SLW | liquid_renew_biomass | Sludge Waste
BLQ | liquid_renew_biomass | Black Liquor
WDL | liquid_renew_biomass | Wood Waste Liquids excluding Black Liquor (including red liquor, sludge wood, spent sulfite liquor, and other wood-based liquids)
LFG | gas_renew_biomass | Landfill Gas
OBG | gas_renew_biomass | Other Biomass Gas (including digester gas, methane, and other biomass gases; specify in SCHEDULE 7)
SUN | other_renew | Solar
WND | other_renew | Wind
GEO | other_renew | Geothermal
WAT | other_renew | Water at a Conventional Hydroelectric Turbine, and water used in Wave Buoy Hydrokinetic Technology, Current Hydrokinetic Technology, and Tidal Hydrokinetic Technology
WAT | other | Pumping Energy for Reversible (Pumped Storage) Hydroelectric Turbine
NUC | other | Nuclear (including Uranium, Plutonium, and Thorium)
PUR | other | Purchased Steam
WH | other | Waste heat not directly attributed to a fuel source (WH should only be reported when the fuel source is undetermined, and for combined cycle steam turbines that do not have supplemental firing.)
TDF | other | Tire-derived Fuels
MWH | other | Electricity used for energy storage
OTH | other | Specify in SCHEDULE 7