## dictionary
feature | year | unit | Notes
yr | 96-16 | year
cost.yr | 96-16 | year
yr.online/completed/available | 96-16 | year | 1998 - both available and first electricity reported. Used available. 2000- first year complete
size | 98-16 | MW
leadtime/construction | 96-16 | year
overnight | 96, 00 | $/kW | base costs
overnight.1 | 97-99 | $/kW | overnight capital cost plus project contingencies. Optimism and learning factor applied until cond'ns reached, at which overnight.n used (in NEMS). Overnight.1 best reflects the base.overnight reported in subsequent years
overnight.n | 97-99 | $/kW
overnight.base | 01-16 | $/kW
project.contingency.factor | 01-16 | 1
technological.optimism.factor | 01-16 | 1
overnight.total | 01-16 | $/kW
variable.o.m | 96-10 | Mills/kWh | (Mills/kWh) * (1e3 M/k) * ($/1e3Mills) = $/MWh
variable.o.m | 11-16 | $/MWh
fixed.o.m | ?-16 | $/kW
heatrate.1.yr | (note) | present year
heatrate.1 | (note) | Btu/kWh
heatrate.n | 03-16 | Btu/kWh
heatrate.yr | (note) | n or 2010
1996-1998: present heatrate and 2010 heatrate --> Recorded
1998-2000: 1st-of-a-kind heatrate and Nth-of-a-kind heatrate --> NA for yrs
2001-2002: Present heatrate and 2010 heatrate
2003-2016: Present heatrate and 'nth of a kind' heatrate
Combined: (heatrate, present year) & (future heatrate, [n, 2010])

## combined
Technology | yr | cost.yr | yr.available | size | leadtime | overnight.base | variable.o.m | fixed.o.m | heatrate.1 | heatrate.n | heatrate.1.yr | heatrate.n.yr
Pulverized Coal | 1996 | 1987 | 2000 | NA | NA | 1190 | 1.9 | 40.5 | 9961 | 8142 | 1995 | 2010
Advanced Coal | 1996 | 1987 | 2000 | NA | NA | 1008 | 1 | 39.4 | 8730 | 7582 | 1995 | 2010
Oil/Gas Steam | 1996 | 1987 | 1990 | NA | NA | 752 | 5.2 | 5.3 | 9477 | 9477 | 1995 | 2010
Combined-Cycle | 1996 | 1987 | 1999 | NA | NA | 344 | 0.4 | 22.8 | 7900 | 6842 | 1995 | 2010
Advanced Combined-Cycle . | 1996 | 1987 | 1999 | NA | NA | 332 | 0.4 | 21 | 7300 | 5687 | 1995 | 2010
Combustion Turbine | 1996 | 1987 | 1990 | NA | NA | 275 | 0.1 | 9.4 | 11900 | 10663 | 1995 | 2010
Advanced Combustion Turbine 1990 | 1996 | 1987 | 1990 | NA | NA | 600 | 0.5 | 26.7 | 9000 | 7935 | 1995 | 2010
Fuel Cell | 1996 | 1987 | 2000 | NA | NA | 1071 | 0.3 | 17.9 | 6450 | 5687 | 1995 | 2010
Conventional Hydro-electric | 1996 | 1987 | NA | NA | 3 | 2176 | 3.2 | 10.2 | NA | NA | NA | NA
Geothermal | 1996 | 1987 | NA | NA | 4 | 2337 | 0 | 64.6 | NA | NA | NA | NA
Biomass | 1996 | 1987 | 2000 | 100 | 4 | 1932 | 15.1 | 67.9 | NA | NA | NA | NA
MSW | 1996 | 1987 | NA | NA | 1 | 5456 | -1 | 12.8 | NA | NA | NA | NA
SolarThermal | 1996 | 1987 | 1997 | 200 | 3 | 1660 | 0 | 19.8 | NA | NA | NA | NA
Wind | 1996 | 1987 | NA | 50 | 3 | 792 | 0 | 20.9 | NA | NA | NA | NA
PV | 1996 | 1987 | 1997 | 50 | 3 | 2657 | 0 | 5.1 | NA | NA | NA | NA
Pulverized Coal | 1997 | 1995 | 2000 | NA | 4 | 1430 | 2.4 | 34.2 | 9961 | 9463 | 1995 | 2010
Advanced Coal | 1997 | 1995 | 2000 | NA | 4 | 2159 | 1.3 | 50.7 | 8730 | 7582 | 1995 | 2010
Oil/Gas Steam | 1997 | 1995 | 1996 | NA | 1 | 968 | 0.5 | 29.3 | 9500 | 9500 | 1995 | 2010
Combined-Cycle | 1997 | 1995 | 1998 | NA | 4 | 430 | 0.5 | 29.4 | 8030 | 7000 | 1995 | 2010
Advanced Combined-Cycle | 1997 | 1995 | 2000 | NA | 4 | 620 | 0.5 | 27 | 6985 | 5700 | 1995 | 2010
Combusion Turbine | 1997 | 1995 | 1996 | NA | 3 | 353 | 0.1 | 12.1 | 11900 | 9700 | 1995 | 2010
Advanced Combustion Turbine | 1997 | 1995 | 1999 | NA | 3 | 563 | 0.5 | 17.2 | 9700 | 7500 | 1995 | 2010
Fuel Cell | 1997 | 1995 | 2003 | NA | 3 | 2247 | 2 | 14.1 | 6000 | 5500 | 1995 | 2010
Advanced Nuclear | 1997 | 1995 | 2005 | NA | 4 | 2534 | 0.4 | 53.7 | 10400 | 10400 | 1995 | 2010
Biomass | 1997 | 1995 | 2000 | NA | 4 | 2657 | 2.2 | 67 | 8979 | 8077 | 1995 | 2010
Geothermal | 1997 | 1995 | 1996 | NA | 4 | NA | 0 | 93.4 | 32391 | NA | 1995 | 2010
Municipal Solid Waste | 1997 | 1995 | 1996 | NA | 1 | 6252 | NA | 16.7 | 16377 | 16377 | 1995 | 2010
Solar Thermal | 1997 | 1995 | 1999 | NA | 3 | 2836 | 0 | 25.6 | NA | NA | 1995 | 2010
Solar Photovoltaic | 1997 | 1995 | 1999 | NA | 3 | 3336 | 0 | 6.7 | NA | NA | 1995 | 2010
Wind | 1997 | 1995 | 1996 | NA | 3 | 929 | 0 | 27.4 | NA | NA | 1995 | 2010
Pulverized Coal (95% Scrubber) | 1998 | 1996 | 2000 | 400 | 4 | 1079 | 3.25 | 22.5 | 9585 | 9087 | 1 | n
Advanced Coal (IGCC) | 1998 | 1996 | 2000 | 380 | 4 | 1833 | 1.87 | 24.2 | 8470 | 7308 | 1 | n
Oil/Gas Steam(Conventional) | 1998 | 1996 | 1996 | 300 | 2 | 991 | 0.5 | 30 | 9500 | 9500 | 1 | n
Combined-Cycle (Conventional, F-Frame) | 1998 | 1996 | 1998 | 250 | 3 | 440 | 2 | 15 | 8030 | 7000 | 1 | n
Combined-Cycle (Advanced, G-&H-Frame) | 1998 | 1996 | 1999 | 400 | 3 | 572 | 2 | 13.8 | 6985 | 6350 | 1 | n
Combustion Turbine (Conventional) | 1998 | 1996 | 1996 | 160 | 2 | 325 | 5 | 4 | 11900 | 10600 | 1 | n
Combustion Turbine (Advanced Turbine Sys.) | 1998 | 1996 | 1998 | 120 | 2 | 458 | 5 | 5.7 | 9700 | 8000 | 1 | n
Fuel Cell (Molten Carbonate) | 1998 | 1996 | 1998 | 10 | 2 | 2189 | 2 | 14.4 | 6000 | 5361 | 1 | n
Nuclear (Evolutionary Adv. Reactor) | 1998 | 1996 | 2005 | 1300 | 5 | 2356 | 0.4 | 55 | 10400 | 10400 | 1 | n
Biomass | 1998 | 1996 | 2000 | 100 | 4 | 2243 | 5.2 | 43 | 8911 | 8224 | 1 | n
Geothermal | 1998 | 1996 | 1996 | 50 | 4 | NA | 0 | 95.7 | 32391 | NA | 1 | n
Municipal Solid Waste | 1998 | 1996 | 1996 | 30 | 1 | 6403 | 5.4 | 0 | 16000 | 16000 | 1 | n
Solar Thermal | 1998 | 1996 | 1999 | 100 | 3 | 2903 | 0 | 46 | NA | NA | 1 | n
Solar Photovoltaic | 1998 | 1996 | 1999 | 5 | 2 | 4556 | 0 | 9.7 | NA | NA | 1 | n
Wind | 1998 | 1996 | 1996 | 50 | 3 | 1235 | 0 | 25.6 | NA | NA | 1 | n
Scrubbed Coal New | 1999 | 1997 | 1997 | 400 | 4 | 1093 | 3.33 | 23.03 | 9585 | 9087 | 1 | n
Integrated Gas Comb Cycle | 1999 | 1997 | 1997 | 428 | 4 | 1606 | 0.79 | 32.13 | 8470 | 6968 | 1 | n
Gas/Oil Steam Turbine | 1999 | 1997 | 1997 | 300 | 2 | 1004 | 0.51 | 30.7 | 9500 | 9500 | 1 | n
Conv Gas/Oil Comb Cycle | 1999 | 1997 | 1997 | 250 | 3 | 445 | 0.51 | 15.35 | 8030 | 7000 | 1 | n
Adv Gas/Oil Comb Cycle | 1999 | 1997 | 1997 | 400 | 3 | 575 | 0.51 | 14.23 | 6985 | 6350 | 1 | n
Conv Combustion Turbine | 1999 | 1997 | 1998 | 160 | 2 | 329 | 0.1 | 6.35 | 11900 | 10600 | 1 | n
Adv Combustion Turbine | 1999 | 1997 | 1997 | 120 | 2 | 461 | 0.1 | 9.01 | 9700 | 8000 | 1 | n
Fuel Cells | 1999 | 1997 | 2001 | 10 | 2 | 2146 | 2.05 | 14.74 | 6000 | 5361 | 1 | n
Advanced Nuclear | 1999 | 1997 | 2001 | 600 | 4 | 2371 | 0.41 | 56.29 | 10400 | 10400 | 1 | n
Biomass | 1999 | 1997 | 2001 | 100 | 4 | 2205 | 5.32 | 44 | 9224 | 8219 | 1 | n
MSW | 1999 | 1997 | 1996 | 30 | 1 | NA | 5.532 | 0 | 16000 | 16000 | 1 | n
Geothermal | 1999 | 1997 | 1997 | 50 | 4 | 1831 | 0 | 85.9 | 32391 | NA | 1 | n
Wind | 1999 | 1997 | 1997 | 50 | 3 | 1109 | 0 | 25.92 | NA | NA | 1 | n
Solar Thermal | 1999 | 1997 | 1997 | 100 | 3 | 2904 | 0 | 46.58 | NA | NA | 1 | n
Photovoltaic | 1999 | 1997 | 1998 | 5 | 2 | 4162 | 0 | 9.82 | NA | NA | 1 | n
Scrubbed Coal New | 2000 | 1998 | 1997 | 400 | 4 | 1102 | 3.33 | 23.03 | 9585 | 9087 | 1 | n
Integrated Gas Comb Cycle | 2000 | 1998 | 1997 | 428 | 4 | 1315 | 0.79 | 32.13 | 8470 | 6968 | 1 | n
Gas/Oil Steam Turbine | 2000 | 1998 | 1997 | 300 | 2 | 1012 | 0.51 | 30.7 | 9500 | 9500 | 1 | n
Conv Gas/Oil Comb Cycle | 2000 | 1998 | 1997 | 250 | 3 | 449 | 0.51 | 15.35 | 8030 | 7000 | 1 | n
Adv Gas/Oil Comb Cycle | 2000 | 1998 | 1997 | 400 | 3 | 580 | 0.51 | 14.23 | 6985 | 6350 | 1 | n
Conv Combustion Turbine | 2000 | 1998 | 1998 | 160 | 2 | 332 | 0.1 | 6.35 | 11900 | 10600 | 1 | n
Adv Combustion Turbine | 2000 | 1998 | 1997 | 120 | 2 | 465 | 0.1 | 9.01 | 9700 | 8000 | 1 | n
Fuel Cells | 2000 | 1998 | 2001 | 10 | 2 | 2163 | 2.05 | 14.74 | 6000 | 5361 | 1 | n
Advanced Nuclear | 2000 | 1998 | 2001 | 600 | 4 | 2390 | 0.41 | 56.29 | 10400 | 10400 | 1 | n
Biomass | 2000 | 1998 | 2001 | 100 | 4 | 1877 | 5.32 | 44 | 9224 | 8219 | 1 | n
MSW | 2000 | 1998 | 1996 | 30 | 1 | 4424 | 5.532 | 0 | 16000 | 16000 | 1 | n
Geothermal | 2000 | 1998 | 1997 | 50 | 4 | 1621 | 0 | 85.9 | 32391 | NA | 1 | n
Wind | 2000 | 1998 | 1997 | 50 | 3 | 993 | 0 | 25.92 | NA | NA | 1 | n
Solar Thermal | 2000 | 1998 | 1997 | 100 | 3 | 3059 | 0 | 46.58 | NA | NA | 1 | n
Photovoltaic | 2000 | 1998 | 1998 | 5 | 2 | 4836 | 0 | 9.82 | NA | NA | 1 | n
Conventional Pulverized Coal | 2001 | 1999 | 2005 | 400 | 4 | 1021 | 3.3 | 22.85 | 9419 | 9087 | 2000 | 2010
Integrated Coal-Gasification Combined Cycle | 2001 | 1999 | 2005 | 428 | 4 | 1220 | 0.78 | 31.89 | 7969 | 6968 | 2000 | 2010
Conventional Gas/Oil Combined Cycle | 2001 | 1999 | 2004 | 250 | 3 | 424 | 0.51 | 15.24 | 7687 | 7000 | 2000 | 2010
Adv Gas/Oil Combined Cycle | 2001 | 1999 | 2004 | 400 | 3 | 533 | 0.51 | 14.12 | 6927 | 6350 | 2000 | 2010
Conv Combustion Turbine | 2001 | 1999 | 2003 | 160 | 2 | 315 | 0.1 | 6.3 | 11467 | 10600 | 2000 | 2010
Adv Combustion Turbine | 2001 | 1999 | 2003 | 120 | 2 | 440 | 0.1 | 8.94 | 9133 | 8000 | 2000 | 2010
Fuel Cells | 2001 | 1999 | 2004 | 10 | 3 | 1767 | 2.03 | 14.63 | 5787 | 5361 | 2000 | 2010
Advanced Nuclear | 2001 | 1999 | 2005 | 600 | 4 | 1729 | 0.41 | 55.86 | 10400 | 10400 | 2000 | 2010
Generic Distributed Generation -Base | 2001 | 1999 | 2004 | 2 | 3 | 579 | 14.75 | 3.92 | 10991 | 9210 | 2000 | 2010
Generic Distributed Generation -Peak | 2001 | 1999 | 2003 | 1 | 2 | 520 | 22.55 | 12.26 | 10620 | 10500 | 2000 | 2010
Biomass | 2001 | 1999 | 2005 | 100 | 4 | 1464 | 2.83 | 43.88 | 8911 | 8911 | 2000 | 2010
MSW - Landfill Gas | 2001 | 1999 | 2004 | 30 | 3 | 1304 | 0.01 | 94.01 | 13648 | 13648 | 2000 | 2010
Geothermal | 2001 | 1999 | 2005 | 50 | 4 | 1626 | 0 | 70.69 | 31241 | 30862 | 2000 | 2010
Wind | 2001 | 1999 | 2004 | 50 | 3 | 919 | 0 | 26 | 102809 | 102809 | 2000 | 2010
Solar Thermal | 2001 | 1999 | 2004 | 100 | 3 | 2394 | 0 | 46.72 | 102809 | 102809 | 2000 | 2010
Solar Photovoltaic | 2001 | 1999 | 2003 | 5 | 2 | 3681 | 0 | 9.85 | 102809 | 102809 | 2000 | 2010
Conventional Pulverized Coal | 2002 | 2000 | 2005 | 400 | 4 | 1046 | 3.38 | 23.41 | 9386 | 9087 | 2001 | 2010
Integrated Coal-Gasification Combined Cycle | 2002 | 2000 | 2005 | 428 | 4 | 1250 | 0.8 | 32.67 | 7869 | 6968 | 2001 | 2010
Conventional Gas/Oil Combined Cycle | 2002 | 2000 | 2004 | 250 | 3 | 435 | 0.52 | 15.61 | 7618 | 7000 | 2001 | 2010
Adv Gas/Oil Combined Cycle | 2002 | 2000 | 2004 | 400 | 3 | 546 | 0.52 | 14.46 | 6870 | 6350 | 2001 | 2010
Conv Combustion Turbine | 2002 | 2000 | 2002 | 160 | 2 | 323 | 0.1 | 6.45 | 11380 | 10600 | 2001 | 2010
Adv Combustion Turbine | 2002 | 2000 | 2003 | 120 | 2 | 451 | 0.1 | 9.16 | 9020 | 8000 | 2001 | 2010
Fuel Cells | 2002 | 2000 | 2004 | 10 | 3 | 1810 | 2.08 | 14.98 | 5744 | 5361 | 2001 | 2010
Advanced Nuclear | 2002 | 2000 | 2005 | 600 | 4 | 1772 | 0.42 | 57.23 | 10400 | 10400 | 2001 | 2010
Generic Distributed Generation -Base | 2002 | 2000 | 2004 | 2 | 3 | 593 | 15.11 | 4.02 | 10991 | 9210 | 2001 | 2010
Generic Distributed Generation -Peak | 2002 | 2000 | 2003 | 1 | 2 | 533 | 23.1 | 12.56 | 10620 | 10500 | 2001 | 2010
Biomass | 2002 | 2000 | 2005 | 100 | 4 | 1536 | 2.9 | 44.95 | 8911 | 8911 | 2001 | 2010
MSW - Landfill Gas | 2002 | 2000 | 2004 | 30 | 3 | 1336 | 0.01 | 96.31 | 13648 | 13648 | 2001 | 2010
Geothermal | 2002 | 2000 | 2006 | 50 | 4 | 1663 | 0 | 70.07 | 32173 | 32173 | 2001 | 2010
Wind | 2002 | 2000 | 2004 | 50 | 3 | 918 | 0 | 25.54 | 10280 | 10280 | 2001 | 2010
Solar Thermal | 2002 | 2000 | 2004 | 100 | 3 | 2157 | 0 | 47.87 | 10280 | 10280 | 2001 | 2010
Solar Photovoltaic | 2002 | 2000 | 2003 | 5 | 2 | 3317 | 0 | 9.85 | 10280 | 10280 | 2001 | 2010
Scrubbed Coal Newl | 2003 | 2001 | 2006 | 600 | 4 | 1079 | 3.07 | 24.52 | 9000 | 8600 | 2002 | n
Integrated Coal-Gasification Combined Cycle | 2003 | 2001 | 2006 | 550 | 4 | 1277 | 2.04 | 33.72 | 8000 | 7200 | 2002 | n
Conventional Gas/Oil Combined Cycle | 2003 | 2001 | 2005 | 250 | 3 | 510 | 2.04 | 12.26 | 7500 | 7000 | 2002 | n
Adv Gas/Oil Combined Cycle | 2003 | 2001 | 2005 | 400 | 3 | 563 | 2.04 | 10.22 | 7000 | 6350 | 2002 | n
Conv Combustion Turbine6 | 2003 | 2001 | 2004 | 160 | 2 | 389 | 4.09 | 10.22 | 10939 | 10450 | 2002 | n
Adv Combustion Turbine | 2003 | 2001 | 2004 | 230 | 2 | 439 | 3.07 | 8.17 | 9394 | 8550 | 2002 | n
Fuel Cells | 2003 | 2001 | 2005 | 10 | 3 | 1850 | 20.43 | 7.15 | 7500 | 6750 | 2002 | n
Advanced Nuclear | 2003 | 2001 | 2007 | 1000 | 5 | 1750 | 0.43 | 58.48 | 10400 | 10400 | 2002 | n
Distributed Generation -Base | 2003 | 2001 | 2005 | 2 | 3 | 766 | 6.13 | 13.79 | 9400 | 8900 | 2002 | n
Distributed Generation -Peak | 2003 | 2001 | 2004 | 1 | 2 | 919 | 6.13 | 13.79 | 10400 | 9880 | 2002 | n
Biomass | 2003 | 2001 | 2006 | 100 | 4 | 1569 | 2.96 | 45.94 | 8911 | 8911 | 2002 | n
MSW - Landfill Gas | 2003 | 2001 | 2005 | 30 | 3 | 1365 | 0.01 | 98.42 | 13648 | 13648 | 2002 | n
Geothermal | 2003 | 2001 | 2006 | 50 | 4 | 1681 | 0 | 71.75 | 32320 | 31797 | 2002 | n
Wind | 2003 | 2001 | 2005 | 50 | 3 | 938 | 0 | 26.1 | 10280 | 10280 | 2002 | n
Solar Thermal | 2003 | 2001 | 2005 | 100 | 3 | 2204 | 0 | 48.91 | 10280 | 10280 | 2002 | n
Solar Photovoltaic | 2003 | 2001 | 2004 | 5 | 2 | 3389 | 0 | 10.06 | 10280 | 10280 | 2002 | n
Scrubbed Coal New | 2004 | 2002 | 2007 | 600 | 4 | 1091 | 3.1 | 24.81 | 9000 | 8600 | 2003 | n
Integrated Coal-Gasification Combined Cycle (IGCC) | 2004 | 2002 | 2007 | 550 | 4 | 1292 | 2.07 | 34.11 | 8000 | 7200 | 2003 | n
IGCC with Carbon Sequestration | 2004 | 2002 | 2010 | 380 | 4 | 1894 | 2.53 | 40.47 | 9600 | 7920 | 2003 | n
Conv Gas/Oil Comb Cycle | 2004 | 2002 | 2006 | 250 | 3 | 516 | 2.07 | 12.4 | 7444 | 7000 | 2003 | n
Ad(vCGCa) s/Oil Comb Cycle | 2004 | 2002 | 2006 | 400 | 3 | 569 | 2.07 | 10.34 | 6928 | 6350 | 2003 | n
ADV CC with Carbon Sequestration | 2004 | 2002 | 2010 | 400 | 3 | 969 | 2.58 | 14.93 | 8646 | 7300 | 2003 | n
Conv Combustion Turbine5 | 2004 | 2002 | 2005 | 160 | 2 | 394 | 4.14 | 10.34 | 10878 | 10450 | 2003 | n
Adv Combustion Turbine | 2004 | 2002 | 2005 | 230 | 2 | 444 | 3.1 | 8.27 | 9289 | 8550 | 2003 | n
Fuel Cells | 2004 | 2002 | 2006 | 10 | 3 | 1872 | 20.67 | 7.23 | 7446 | 6750 | 2003 | n
Advanced Nuclear | 2004 | 2002 | 2013 | 1000 | 6 | 1669 | 0.43 | 59.17 | 10400 | 10400 | 2003 | n
Distributed Generation -Base | 2004 | 2002 | 2006 | 2 | 3 | 775 | 6.2 | 13.95 | 9400 | 8900 | 2003 | n
Distributed Generation - Peak | 2004 | 2002 | 2005 | 1 | 2 | 930 | 6.2 | 13.95 | 10400 | 9880 | 2003 | n
Biomass | 2004 | 2002 | 2010 | 80 | 4 | 1588 | 2.96 | 46.47 | 8911 | 8911 | 2003 | n
MSW - Landfill Gas | 2004 | 2002 | 2006 | 30 | 3 | 1381 | 0.01 | 99.57 | 13648 | 13648 | 2003 | n
Geothermal | 2004 | 2002 | 2007 | 50 | 4 | 2099 | 0 | 79.28 | 37259 | 36468 | 2003 | n
Wind | 2004 | 2002 | 2006 | 50 | 3 | 949 | 0 | 26.41 | 10280 | 10280 | 2003 | n
Solar Thermal | 2004 | 2002 | 2006 | 100 | 3 | 2478 | 0 | 49.48 | 10280 | 10280 | 2003 | n
Photovoltaic | 2004 | 2002 | 2005 | 5 | 2 | 3810 | 0 | 10.08 | 10280 | 10280 | 2003 | n
Scrubbed Coal New | 2005 | 2003 | 2008 | 600 | 4 | 1134 | 4.06 | 24.36 | 8844 | 8600 | 2004 | n
Integrated Coal-GasificationCombined Cycle (IGCC) | 2005 | 2003 | 2008 | 550 | 4 | 1310 | 2.58 | 34.21 | 8309 | 7200 | 2004 | n
IGCC with Carbon Sequestration | 2005 | 2003 | 2010 | 380 | 4 | 1820 | 3.93 | 40.26 | 9713 | 7920 | 2004 | n
Conv Gas/Oil Comb Cycle | 2005 | 2003 | 2007 | 250 | 3 | 540 | 1.83 | 11.04 | 7196 | 6800 | 2004 | n
Adv Gas/Oil Comb Cycle (CC) | 2005 | 2003 | 2007 | 400 | 3 | 517 | 1.77 | 10.35 | 6752 | 6333 | 2004 | n
ADV CC with Carbon Sequestration | 2005 | 2003 | 2010 | 400 | 3 | 992 | 2.6 | 17.6 | 8613 | 7493 | 2004 | n
Conv Combustion Turbine5 | 2005 | 2003 | 2006 | 160 | 2 | 376 | 3.16 | 10.72 | 10817 | 10450 | 2004 | n
Adv Combustion Turbine | 2005 | 2003 | 2006 | 230 | 2 | 356 | 2.8 | 9.31 | 9183 | 8550 | 2004 | n
Fuel Cells | 2005 | 2003 | 2007 | 10 | 3 | 3679 | 42.4 | 5 | 7930 | 6960 | 2004 | n
Advanced Nuclear | 2005 | 2003 | 2013 | 1000 | 6 | 1694 | 0.44 | 60.06 | 10400 | 10400 | 2004 | n
Distributed Generation -Base | 2005 | 2003 | 2007 | 2 | 3 | 769 | 6.3 | 14.18 | 9950 | 8900 | 2004 | n
Distributed Generation -Peak | 2005 | 2003 | 2006 | 1 | 2 | 924 | 6.3 | 14.18 | 11200 | 9880 | 2004 | n
Biomass | 2005 | 2003 | 2008 | 80 | 4 | 1612 | 2.96 | 47.18 | 8911 | 8911 | 2004 | n
MSW - Landfill Gas | 2005 | 2003 | 2007 | 30 | 3 | 1402 | 0.01 | 101.07 | 13648 | 13648 | 2004 | n
Geothermal | 2005 | 2003 | 2008 | 50 | 4 | 2960 | 0 | 104.98 | 45335 | 36468 | 2004 | n
Conventional Hydropower6 | 2005 | 2003 | 2008 | 500 | 4 | 1319 | 4.6 | 12.35 | 10338 | 10338 | 2004 | n
Wind | 2005 | 2003 | 2007 | 50 | 3 | 1060 | 0 | 26.81 | 10280 | 10280 | 2004 | n
Solar Thermal | 2005 | 2003 | 2007 | 100 | 3 | 2515 | 0 | 50.23 | 10280 | 10280 | 2004 | n
Photovoltaic | 2005 | 2003 | 2006 | 5 | 2 | 3868 | 0 | 10.34 | 10280 | 10280 | 2004 | n
Scrubbed Coal New | 2006 | 2004 | 2009 | 600 | 4 | 1167 | 4.18 | 25.07 | 8844 | 8600 | 2005 | n
Integrated Coal-Gasification Combined Cycle (IGCC) | 2006 | 2004 | 2009 | 550 | 4 | 1349 | 2.65 | 35.21 | 8309 | 7200 | 2005 | n
IGCC with Carbon Sequestration | 2006 | 2004 | 2010 | 380 | 4 | 1873 | 4.04 | 41.44 | 9713 | 7920 | 2005 | n
Conv Gas/Oil Comb Cycle | 2006 | 2004 | 2008 | 250 | 3 | 556 | 1.88 | 11.37 | 7196 | 6800 | 2005 | n
Adv Gas/Oil Comb Cycle (CC) | 2006 | 2004 | 2008 | 400 | 3 | 532 | 1.82 | 10.65 | 6752 | 6333 | 2005 | n
ADV CC with Carbon Sequestration | 2006 | 2004 | 2010 | 400 | 3 | 1021 | 2.68 | 18.12 | 8613 | 7493 | 2005 | n
Conv Combustion Turbine | 2006 | 2004 | 2007 | 160 | 2 | 388 | 3.25 | 11.03 | 10842 | 10450 | 2005 | n
Adv Combustion Turbine | 2006 | 2004 | 2007 | 230 | 2 | 367 | 2.89 | 9.59 | 9227 | 8550 | 2005 | n
Fuel Cells | 2006 | 2004 | 2008 | 10 | 3 | 3787 | 43.64 | 5.15 | 7930 | 6960 | 2005 | n
Advanced Nuclear | 2006 | 2004 | 2013 | 1000 | 6 | 1744 | 0.45 | 61.82 | 10400 | 10400 | 2005 | n
Distributed Generation -Base | 2006 | 2004 | 2008 | 2 | 3 | 791 | 6.49 | 14.6 | 9650 | 8900 | 2005 | n
Distributed Generation -Peak | 2006 | 2004 | 2007 | 1 | 2 | 951 | 6.49 | 14.6 | 10823 | 9880 | 2005 | n
Biomass | 2006 | 2004 | 2009 | 80 | 4 | 1659 | 3.13 | 48.56 | 8911 | 8911 | 2005 | n
MSW - Landfill Gas | 2006 | 2004 | 2008 | 30 | 3 | 1443 | 0.01 | 104.03 | 13648 | 13648 | 2005 | n
Geothermal | 2006 | 2004 | 2009 | 50 | 4 | 2100 | 0 | 75 | 32173 | 35460 | 2005 | n
Conventional Hydropower | 2006 | 2004 | 2009 | 500 | 4 | 1320 | 3.2 | 12.72 | 10338 | 10338 | 2005 | n
Wind | 2006 | 2004 | 2008 | 50 | 3 | 1091 | 0 | 27.59 | 10280 | 10280 | 2005 | n
Solar Thermal | 2006 | 2004 | 2008 | 100 | 3 | 2589 | 0 | 51.7 | 10280 | 10280 | 2005 | n
Photovoltaic | 2006 | 2004 | 2007 | 5 | 2 | 3981 | 0 | 10.64 | 10280 | 10280 | 2005 | n
Scrubbed Coal New | 2007 | 2005 | 2010 | 600 | 4 | 1206 | 4.32 | 25.91 | 8844 | 8600 | 2006 | n
Integrated Coal-Gasification Combined Cycle (IGCC) | 2007 | 2005 | 2010 | 550 | 4 | 1394 | 2.75 | 36.38 | 8309 | 7200 | 2006 | n
IGCC with Carbon Sequestration | 2007 | 2005 | 2010 | 380 | 4 | 1936 | 4.18 | 42.82 | 9713 | 7920 | 2006 | n
Conv Gas/Oil Comb Cycle | 2007 | 2005 | 2009 | 250 | 3 | 574 | 1.94 | 11.75 | 7163 | 6800 | 2006 | n
Adv Gas/Oil Comb Cycle (CC) | 2007 | 2005 | 2009 | 400 | 3 | 550 | 1.88 | 11.01 | 6717 | 6333 | 2006 | n
ADV CC with Carbon Sequestration | 2007 | 2005 | 2010 | 400 | 3 | 1055 | 2.77 | 18.72 | 8547 | 7493 | 2006 | n
Conv Combustion Turbine | 2007 | 2005 | 2008 | 160 | 2 | 400 | 3.36 | 11.4 | 10807 | 10450 | 2006 | n
Adv Combustion Turbine | 2007 | 2005 | 2008 | 230 | 2 | 379 | 2.98 | 9.91 | 9166 | 8550 | 2006 | n
Fuel Cells | 2007 | 2005 | 2009 | 10 | 3 | 3913 | 45.09 | 5.32 | 7873 | 6960 | 2006 | n
Advanced Nuclear | 2007 | 2005 | 2014 | 1350 | 6 | 1802 | 0.47 | 63.88 | 10400 | 10400 | 2006 | n
Distributed Generation -Base | 2007 | 2005 | 2009 | 2 | 3 | 818 | 6.7 | 15.08 | 9500 | 8900 | 2006 | n
Distributed Generation -Peak | 2007 | 2005 | 2008 | 1 | 2 | 983 | 6.7 | 15.08 | 10634 | 9880 | 2006 | n
Biomass | 2007 | 2005 | 2010 | 80 | 4 | 1714 | 2.96 | 50.18 | 8911 | 8911 | 2006 | n
MSW - Landfill Gas | 2007 | 2005 | 2009 | 30 | 3 | 1491 | 0.01 | 107.5 | 13648 | 13648 | 2006 | n
Geothermal | 2007 | 2005 | 2010 | 50 | 4 | 1790 | 0 | 154.92 | 36025 | 30641 | 2006 | n
Conventional Hydropower | 2007 | 2005 | 2010 | 500 | 4 | 1364 | 3.3 | 13.14 | 10107 | 10107 | 2006 | n
Wind | 2007 | 2005 | 2009 | 50 | 3 | 1127 | 0 | 28.51 | 10280 | 10280 | 2006 | n
Solar Thermal | 2007 | 2005 | 2009 | 100 | 3 | 2675 | 0 | 53.43 | 10280 | 10280 | 2006 | n
Photovoltaic | 2007 | 2005 | 2008 | 5 | 2 | 4114 | 0 | 10.99 | 10280 | 10280 | 2006 | n
Scrubbed Coal New | 2008 | 2006 | 2011 | 600 | 4 | 1434 | 4.46 | 26.79 | 9200 | 8740 | 2007 | n
Integrated Coal-Gasification Combined Cycle (IGCC) | 2008 | 2006 | 2011 | 550 | 4 | 1657 | 2.84 | 37.62 | 8765 | 7450 | 2007 | n
IGCC with Carbon Sequestration | 2008 | 2006 | 2011 | 380 | 4 | 2302 | 4.32 | 44.27 | 10781 | 8307 | 2007 | n
Conv Gas/Oil Comb Cycle | 2008 | 2006 | 2010 | 250 | 3 | 683 | 2.01 | 12.14 | 7196 | 6800 | 2007 | n
Adv Gas/Oil Comb Cycle (CC) | 2008 | 2006 | 2010 | 400 | 3 | 654 | 1.95 | 11.38 | 6752 | 6333 | 2007 | n
ADV CC with Carbon Sequestration | 2008 | 2006 | 2010 | 400 | 3 | 1254 | 2.86 | 19.36 | 8613 | 7493 | 2007 | n
Conv Combustion Turbine8 | 2008 | 2006 | 2009 | 160 | 2 | 476 | 3.47 | 11.78 | 10833 | 10450 | 2007 | n
Adv Combustion Turbine | 2008 | 2006 | 2009 | 230 | 2 | 450 | 3.08 | 10.24 | 9289 | 8550 | 2007 | n
Fuel Cells | 2008 | 2006 | 2010 | 10 | 3 | 4653 | 46.62 | 5.5 | 7930 | 6960 | 2007 | n
Advanced Nuclear | 2008 | 2006 | 2016 | 1350 | 6 | 2143 | 0.48 | 66.05 | 10400 | 10400 | 2007 | n
Distributed Generation -Base | 2008 | 2006 | 2009 | 5 | 2 | 972 | 6.93 | 15.59 | 9200 | 8900 | 2007 | n
Distributed Generation -Peak | 2008 | 2006 | 2010 | 2 | 3 | 1168 | 6.93 | 15.59 | 10257 | 9880 | 2007 | n
Biomass | 2008 | 2006 | 2011 | 80 | 4 | 2490 | 6.53 | 62.7 | 8911 | 8911 | 2007 | n
MSW - Landfill Gas | 2008 | 2006 | 2010 | 30 | 3 | 1773 | 0.01 | 111.15 | 13648 | 13648 | 2007 | n
Geothermal | 2008 | 2006 | 2011 | 50 | 4 | 1057 | 0 | 160.18 | 35376 | 33729 | 2007 | n
Conventional Hydropower | 2008 | 2006 | 2011 | 500 | 4 | 1410 | 3.41 | 13.59 | 10022 | 10022 | 2007 | n
Wind | 2008 | 2006 | 2010 | 50 | 3 | 1340 | 0 | 29.48 | 10022 | 10022 | 2007 | n
Wind Offshore | 2008 | 2006 | 2011 | 100 | 4 | 2547 | 0 | 87.05 | 10022 | 10022 | 2007 | n
Solar Thermal | 2008 | 2006 | 2010 | 100 | 3 | 3499 | 0 | 55.24 | 10022 | 10022 | 2007 | n
Photovoltaic | 2008 | 2006 | 2009 | 5 | 2 | 5380 | 0 | 11.37 | 10022 | 10022 | 2007 | n
Scrubbed Coal New | 2009 | 2007 | 21012 | 600 | 4 | 1923 | 4.59 | 27.53 | 9200 | 8740 | 2008 | n
Integrated Coal-Gasification Combined Cycle (IGCC) | 2009 | 2007 | 2012 | 550 | 4 | 2223 | 2.92 | 38.67 | 8765 | 7450 | 2008 | n
IGCC with Carbon Sequestration | 2009 | 2007 | 2016 | 380 | 4 | 3172 | 4.44 | 46.12 | 10781 | 8307 | 2008 | n
Conv Gas/Oil Comb Cycle | 2009 | 2007 | 2011 | 250 | 3 | 917 | 2.07 | 12.48 | 7196 | 6800 | 2008 | n
Adv Gas/Oil Comb Cycle (CC) | 2009 | 2007 | 2011 | 400 | 3 | 877 | 2 | 11.7 | 6752 | 6333 | 2008 | n
ADV CC with Carbon Sequestration | 2009 | 2007 | 2016 | 400 | 3 | 1683 | 2.94 | 19.9 | 8613 | 7493 | 2008 | n
Conv Combustion Turbine | 2009 | 2007 | 2010 | 160 | 2 | 638 | 3.57 | 12.11 | 10810 | 10450 | 2008 | n
Adv Combustion Turbine | 2009 | 2007 | 2010 | 230 | 2 | 604 | 3.17 | 10.53 | 9289 | 8550 | 2008 | n
Fuel Cells | 2009 | 2007 | 2011 | 10 | 3 | 4640 | 47.92 | 5.65 | 7930 | 6960 | 2008 | n
Advanced Nuclear | 2009 | 2007 | 2016 | 1350 | 6 | 2873 | 0.49 | 90.02 | 10434 | 10434 | 2008 | n
Distributed Generation -Base | 2009 | 2007 | 2011 | 2 | 3 | 1305 | 7.12 | 16.03 | 9050 | 8900 | 2008 | n
Distributed Generation -Peak | 2009 | 2007 | 2010 | 1 | 2 | 1566 | 7.12 | 16.03 | 10069 | 9880 | 2008 | n
Biomass | 2009 | 2007 | 2012 | 80 | 4 | 3339 | 6.71 | 64.45 | 9646 | 7765 | 2008 | n
MSW - Landfill Gas | 2009 | 2007 | 2010 | 30 | 3 | 2377 | 0.01 | 114.25 | 13648 | 13648 | 2008 | n
Geothermal | 2009 | 2007 | 2010 | 50 | 4 | 1630 | 0 | 164.64 | 34633 | 30301 | 2008 | n
Conventional Hydropower | 2009 | 2007 | 2012 | 500 | 4 | 2038 | 2.43 | 13.63 | 9919 | 9919 | 2008 | n
Wind | 2009 | 2007 | 2009 | 50 | 3 | 1797 | 0 | 30.3 | 9919 | 9919 | 2008 | n
Wind Offshore | 2009 | 2007 | 2012 | 100 | 4 | 3416 | 0 | 89.48 | 9919 | 9919 | 2008 | n
Solar Thermal | 2009 | 2007 | 2012 | 100 | 3 | 4693 | 0 | 56.78 | 9919 | 9919 | 2008 | n
Photovoltaic | 2009 | 2007 | 2011 | 5 | 2 | 5750 | 0 | 11.68 | 9919 | 9919 | 2008 | n
Scrubbed Coal New | 2010 | 2008 | 2013 | 600 | 4 | 2078 | 4.69 | 28.15 | 9200 | 8740 | 2009 | n
Integrated Coal-Gasification Combined Cycle (IGCC) | 2010 | 2008 | 2013 | 550 | 4 | 2401 | 2.99 | 39.53 | 8765 | 7450 | 2009 | n
IGCC withCarbon Sequestration | 2010 | 2008 | 2016 | 380 | 4 | 3427 | 4.54 | 47.15 | 10781 | 8307 | 2009 | n
Conv Gas/Oil Comb Cycle | 2010 | 2008 | 2012 | 250 | 3 | 937 | 2.11 | 12.76 | 7196 | 6800 | 2009 | n
Adv Gas/Oil Comb Cycle (CC) | 2010 | 2008 | 2012 | 400 | 3 | 897 | 2.04 | 11.96 | 6752 | 6333 | 2009 | n
ADVCC with Carbon Sequestion | 2010 | 2008 | 2016 | 400 | 3 | 1720 | 3.01 | 20.35 | 8613 | 7493 | 2009 | n
Conv Combustion Turbine8 | 2010 | 2008 | 2011 | 160 | 2 | 653 | 3.65 | 12.38 | 10788 | 10450 | 2009 | n
Adv Combustion Turbine | 2010 | 2008 | 2011 | 230 | 2 | 617 | 3.24 | 10.77 | 9289 | 8550 | 2009 | n
Fuel Cells | 2010 | 2008 | 2012 | 10 | 3 | 4744 | 49 | 5.78 | 7930 | 6960 | 2009 | n
Advanced Nuclear | 2010 | 2008 | 2016 | 1350 | 6 | 3308 | 0.51 | 92.04 | 10488 | 10488 | 2009 | n
Distributed Generation -Base | 2010 | 2008 | 2012 | 2 | 3 | 1334 | 7.28 | 16.39 | 9050 | 8900 | 2009 | n
Distributed Generation -Peak | 2010 | 2008 | 2011 | 1 | 2 | 1601 | 7.28 | 16.39 | 10069 | 9880 | 2009 | n
Biomass | 2010 | 2008 | 2013 | 80 | 4 | 3414 | 6.86 | 65.89 | 9451 | 7765 | 2009 | n
Geothermal | 2010 | 2008 | 2010 | 50 | 4 | 1666 | 0 | 168.33 | 32969 | 30326 | 2009 | n
MSW - Landfill Gas | 2010 | 2008 | 2010 | 30 | 3 | 2430 | 0.01 | 116.8 | 13648 | 13648 | 2009 | n
Conventional Hydropower | 2010 | 2008 | 2013 | 500 | 4 | 2084 | 2.49 | 13.93 | 9884 | 9884 | 2009 | n
Wind | 2010 | 2008 | 2009 | 50 | 3 | 1837 | 0 | 30.98 | 9884 | 9884 | 2009 | n
Wind Offshore | 2010 | 2008 | 2013 | 100 | 4 | 3492 | 0 | 86.92 | 9884 | 9884 | 2009 | n
Solar Thermal | 2010 | 2008 | 2012 | 100 | 3 | 4798 | 0 | 58.05 | 9884 | 9884 | 2009 | n
Photovoltaic | 2010 | 2008 | 2011 | 5 | 2 | 5879 | 0 | 11.94 | 9884 | 9884 | 2009 | n
Scrubbed Coal New | 2011 | 2009 | 2014 | 1300 | 4 | 2625 | 4.2 | 29.31 | 8800 | 8740 | 2010 | n
Integrated Coal-Gasification Comb Cycle (IGCC) | 2011 | 2009 | 2014 | 1200 | 4 | 2974 | 6.79 | 58.52 | 8700 | 7450 | 2010 | n
IGCC with carbon sequestration | 2011 | 2009 | 2016 | 520 | 4 | 4797 | 8.83 | 68.47 | 10700 | 8307 | 2010 | n
Conv Gas/Oil Comb Cycle | 2011 | 2009 | 2013 | 540 | 3 | 921 | 3.37 | 14.22 | 7050 | 6800 | 2010 | n
Adv Gas/Oil Comb Cycle (CC) | 2011 | 2009 | 2013 | 400 | 3 | 917 | 3.07 | 14.44 | 6430 | 6333 | 2010 | n
Adv CC with carbon sequestration | 2011 | 2009 | 2016 | 340 | 3 | 1813 | 6.37 | 29.89 | 7525 | 7493 | 2010 | n
Conv Comb Turbine | 2011 | 2009 | 2012 | 85 | 2 | 916 | 8.15 | 9.75 | 10745 | 10450 | 2010 | n
Adv Comb Turbine | 2011 | 2009 | 2012 | 210 | 2 | 626 | 6.9 | 14.52 | 9750 | 8550 | 2010 | n
Fuel Cells | 2011 | 2009 | 2013 | 10 | 3 | 5846 | 0 | 345.8 | 9500 | 6960 | 2010 | n
Adv Nuclear | 2011 | 2009 | 2016 | 2236 | 6 | 4567 | 2 | 87.69 | 10453 | 10453 | 2010 | n
Distributed Generation - Base | 2011 | 2009 | 2013 | 2 | 3 | 1349 | 7.37 | 16.58 | 9050 | 8900 | 2010 | n
Distributed Generation - Peak | 2011 | 2009 | 2012 | 1 | 2 | 1620 | 7.37 | 16.58 | 10069 | 9880 | 2010 | n
Biomass | 2011 | 2009 | 2014 | 50 | 4 | 3395 | 6.94 | 99.3 | 13500 | 13500 | 2010 | n
Geothermal | 2011 | 2009 | 2011 | 50 | 4 | 2364 | 9.52 | 107.27 | 30000 | 30000 | 2010 | n
MSW - Landfill Gas | 2011 | 2009 | 2011 | 50 | 3 | 7698 | 8.23 | 369.28 | 13648 | 13648 | 2010 | n
Conventional Hydropower | 2011 | 2009 | 2014 | 500 | 4 | 2019 | 2.42 | 13.55 | 9854 | 9854 | 2010 | n
Wind | 2011 | 2009 | 2011 | 100 | 3 | 2251 | 0 | 27.73 | 9854 | 9854 | 2010 | n
Wind Offshore | 2011 | 2009 | 2014 | 400 | 4 | 4404 | 0 | 86.98 | 9854 | 9854 | 2010 | n
Solar Thermal | 2011 | 2009 | 2013 | 100 | 3 | 4333 | 0 | 63.23 | 9854 | 9854 | 2010 | n
Photovoltaic | 2011 | 2009 | 2012 | 150 | 2 | 4474 | 0 | 25.73 | 9854 | 9854 | 2010 | n
Scrubbed Coal New | 2012 | 2010 | 2015 | 1300 | 4 | 2658 | 4.25 | 29.67 | 8800 | 8740 | 2011 | n
Integrated Coal-Gasification Comb Cycle (IGCC) | 2012 | 2010 | 2015 | 1200 | 4 | 3010 | 6.87 | 48.9 | 8700 | 7450 | 2011 | n
IGCC with carbon sequestration | 2012 | 2010 | 2017 | 520 | 4 | 4852 | 8.04 | 69.3 | 10700 | 8307 | 2011 | n
Conv Gas/Oil Comb Cycle | 2012 | 2010 | 2014 | 540 | 3 | 931 | 3.43 | 14.39 | 7050 | 6800 | 2011 | n
Adv Gas/Oil Comb Cycle (CC) | 2012 | 2010 | 2014 | 400 | 3 | 929 | 3.11 | 14.62 | 6430 | 6333 | 2011 | n
Adv CC with carbon sequestration | 2012 | 2010 | 2017 | 340 | 3 | 1834 | 6.45 | 30.25 | 7525 | 7493 | 2011 | n
Conv Comb Turbine8 | 2012 | 2010 | 2013 | 85 | 2 | 927 | 14.7 | 6.98 | 10745 | 10450 | 2011 | n
Adv Comb Turbine | 2012 | 2010 | 2013 | 210 | 2 | 634 | 9.87 | 6.7 | 9750 | 8550 | 2011 | n
Fuel Cells | 2012 | 2010 | 2014 | 10 | 3 | 5918 | 0 | 350 | 9500 | 6960 | 2011 | n
Adv Nuclear | 2012 | 2010 | 2017 | 2236 | 6 | 4619 | 2.04 | 88.75 | 10460 | 10460 | 2011 | n
Distributed Generation - Base | 2012 | 2010 | 2014 | 2 | 3 | 1366 | 7.46 | 16.78 | 9050 | 8900 | 2011 | n
Distributed Generation - Peak | 2012 | 2010 | 2013 | 1 | 2 | 1640 | 7.46 | 16.78 | 10056 | 9880 | 2011 | n
Biomass | 2012 | 2010 | 2015 | 50 | 4 | 3519 | 5 | 100.55 | 13500 | 13500 | 2011 | n
Geothermal | 2012 | 2010 | 2011 | 50 | 4 | 2393 | 9.64 | 108.62 | 9760 | 9760 | 2011 | n
MSW - Landfill Gas | 2012 | 2010 | 2011 | 50 | 3 | 7694 | 8.33 | 378.76 | 13648 | 13648 | 2011 | n
Conventional Hydropower | 2012 | 2010 | 2015 | 500 | 4 | 2134 | 2.55 | 14.27 | 9760 | 9760 | 2011 | n
Wind | 2012 | 2010 | 2011 | 100 | 3 | 2278 | 0 | 28.07 | 9760 | 9760 | 2011 | n
Wind Offshore | 2012 | 2010 | 2015 | 400 | 4 | 4345 | 0 | 53.33 | 9760 | 9760 | 2011 | n
Solar Thermal | 2012 | 2010 | 2014 | 100 | 3 | 4384 | 0 | 64 | 9760 | 9760 | 2011 | n
Photovoltaic | 2012 | 2010 | 2013 | 150 | 2 | 4528 | 0 | 16.7 | 9760 | 9760 | 2011 | n
Scrubbed Coal New | 2013 | 2011 | 2016 | 1300 | 4 | 2694 | 4.39 | 30.64 | 8800 | 8740 | 2012 | n
Integrated Coal-Gasification Comb Cycle (IGCC) | 2013 | 2011 | 2016 | 1200 | 4 | 3475 | 7.09 | 50.49 | 8700 | 7450 | 2012 | n
Pulverized Coal with Carbon sequestion | 2013 | 2011 | 2017 | 650 | 4 | 4662 | 4.37 | 65.31 | 12000 | 9316 | 2012 | n
Conv Gas/Oil Comb Cycle | 2013 | 2011 | 2015 | 620 | 3 | 858 | 3.54 | 12.94 | 7050 | 6800 | 2012 | n
Adv Gas/Oil Comb Cycle (CC) | 2013 | 2011 | 2015 | 400 | 3 | 931 | 3.21 | 15.1 | 6430 | 6333 | 2012 | n
Adv CC with carbon sequestration | 2013 | 2011 | 2017 | 340 | 3 | 1833 | 6.66 | 31.23 | 7525 | 7493 | 2012 | n
Conv Comb Turbine | 2013 | 2011 | 2014 | 85 | 2 | 910 | 15.18 | 7.21 | 10850 | 10450 | 2012 | n
Adv Comb Turbine | 2013 | 2011 | 2014 | 210 | 2 | 632 | 10.19 | 6.92 | 9750 | 8550 | 2012 | n
Fuel Cells | 2013 | 2011 | 2015 | 10 | 3 | 6045 | 0 | 357.47 | 9500 | 6960 | 2012 | n
Adv Nuclear | 2013 | 2011 | 2018 | 2236 | 6 | 4700 | 2.1 | 91.65 | 10452 | 10452 | 2012 | n
Distributed Generation - Base | 2013 | 2011 | 2015 | 2 | 3 | 1395 | 7.62 | 17.14 | 9038 | 8900 | 2012 | n
Distributed Generation - Peak | 2013 | 2011 | 2015 | 1 | 2 | 1675 | 7.62 | 17.14 | 10042 | 9880 | 2012 | n
Biomass | 2013 | 2011 | 2016 | 50 | 4 | 3685 | 5.17 | 103.79 | 13500 | 13500 | 2012 | n
Geothermal | 2013 | 2011 | 2013 | 50 | 4 | 2444 | 0 | 110.94 | 9756 | 9756 | 2012 | n
MSW - Landfill Gas | 2013 | 2011 | 2013 | 50 | 3 | 7858 | 8.51 | 381.74 | 13648 | 13648 | 2012 | n
Conventional Hydropower | 2013 | 2011 | 2016 | 500 | 4 | 2179 | 2.6 | 14.57 | 9756 | 9756 | 2012 | n
Wind | 2013 | 2011 | 2013 | 100 | 3 | 2032 | 0 | 38.86 | 9756 | 9756 | 2012 | n
Wind Offshore | 2013 | 2011 | 2016 | 400 | 4 | 4452 | 0 | 72.71 | 9756 | 9756 | 2012 | n
Solar Thermal7 | 2013 | 2011 | 2015 | 100 | 3 | 4653 | 0 | 66.09 | 9756 | 9756 | 2012 | n
Photovoltaic | 2013 | 2011 | 2014 | 150 | 2 | 3624 | 0 | 21.37 | 9756 | 9756 | 2012 | n
Scrubbed Coal New | 2014 | 2012 | 2017 | 1300 | 4 | 2734 | 4.47 | 31.18 | 8800 | 8740 | 2013 | n
Integrated Coal-Gasification Comb Cycle (IGCC) | 2014 | 2012 | 2017 | 1200 | 4 | 3525 | 7.22 | 51.39 | 8700 | 7450 | 2013 | n
IGCC with Carbon sequestion | 2014 | 2012 | 2017 | 520 | 4 | 5958 | 8.45 | 72.84 | 10700 | 8307 | 2013 | n
Conv Gas/Oil Comb Cycle | 2014 | 2012 | 2016 | 620 | 3 | 871 | 3.6 | 13.17 | 7050 | 6800 | 2013 | n
Adv Gas/Oil Comb Cycle (CC) | 2014 | 2012 | 2016 | 400 | 3 | 945 | 3.27 | 15.37 | 6430 | 6333 | 2013 | n
Adv CC with carbon sequestration | 2014 | 2012 | 2017 | 340 | 3 | 1856 | 6.78 | 31.79 | 7525 | 7493 | 2013 | n
Conv Comb Turbine | 2014 | 2012 | 2015 | 85 | 2 | 924 | 15.45 | 7.34 | 10817 | 10450 | 2013 | n
Adv Comb Turbine | 2014 | 2012 | 2015 | 210 | 2 | 641 | 10.37 | 7.04 | 9750 | 8550 | 2013 | n
Fuel Cells | 2014 | 2012 | 2016 | 10 | 3 | 6099 | 42.99 | 0 | 9500 | 6960 | 2013 | n
Adv Nuclear | 2014 | 2012 | 2019 | 2234 | 6 | 4763 | 2.14 | 93.28 | 10464 | 10464 | 2013 | n
Distributed Generation - Base | 2014 | 2012 | 2016 | 2 | 3 | 1414 | 7.76 | 17.45 | 9027 | 8900 | 2013 | n
Distributed Generation - Peak | 2014 | 2012 | 2015 | 1 | 2 | 1698 | 7.76 | 17.45 | 10029 | 9880 | 2013 | n
Biomass | 2014 | 2012 | 2017 | 50 | 4 | 3590 | 5.26 | 105.64 | 13500 | 13500 | 2013 | n
Geothermal | 2014 | 2012 | 2016 | 50 | 4 | 2375 | 0 | 112.92 | 9716 | 9716 | 2013 | n
Muncipal Solid Waste | 2014 | 2012 | 2014 | 50 | 3 | 7751 | 8.75 | 392.81 | 18000 | 18000 | 2013 | n
Conventional Hydropower | 2014 | 2012 | 2017 | 500 | 4 | 2213 | 2.65 | 14.83 | 9716 | 9716 | 2013 | n
Wind | 2014 | 2012 | 2014 | 100 | 3 | 2061 | 0 | 39.55 | 9716 | 9716 | 2013 | n
Wind Offshore | 2014 | 2012 | 2017 | 400 | 4 | 4503 | 0 | 74 | 9716 | 9716 | 2013 | n
Solar Thermal | 2014 | 2012 | 2016 | 100 | 3 | 4715 | 0 | 67.26 | 9716 | 9716 | 2013 | n
Photovoltaic | 2014 | 2012 | 2015 | 150 | 2 | 3394 | 0 | 24.69 | 9716 | 9716 | 2013 | n
Scrubbed Coal New | 2015 | 2013 | 2018 | 1300 | 4 | 2726 | 4.47 | 31.16 | 8800 | 8740 | 2014 | n
Integrated Coal- Gasifification Comb Cycle (IGCC) | 2015 | 2013 | 2018 | 1200 | 4 | 3483 | 7.22 | 51.37 | 8700 | 7450 | 2014 | n
IGCC with Carbon sequestion | 2015 | 2013 | 2018 | 520 | 4 | 5891 | 8.44 | 72.8 | 10700 | 8307 | 2014 | n
Conv Gas/Oil Comb Cycle | 2015 | 2013 | 2017 | 620 | 3 | 869 | 3.6 | 13.16 | 7050 | 6800 | 2014 | n
Adv Gas/Oil Comb Cycle (CC) | 2015 | 2013 | 2017 | 400 | 3 | 942 | 3.27 | 15.36 | 6430 | 6333 | 2014 | n
Adv CC with carbon sequestration | 2015 | 2013 | 2017 | 340 | 3 | 1845 | 6.78 | 31.77 | 7525 | 7493 | 2014 | n
Conv Comb Turbine | 2015 | 2013 | 2016 | 85 | 2 | 922 | 15.44 | 7.34 | 10783 | 10450 | 2014 | n
Adv Comb Turbine | 2015 | 2013 | 2016 | 210 | 2 | 639 | 10.37 | 7.04 | 9750 | 8550 | 2014 | n
Fuel Cells | 2015 | 2013 | 2017 | 10 | 3 | 6042 | 42.97 | 0 | 9500 | 6960 | 2014 | n
Adv Nuclear | 2015 | 2013 | 2022 | 2234 | 6 | 4646 | 2.14 | 93.23 | 10479 | 10479 | 2014 | n
Distributed Generation - Base | 2015 | 2013 | 2017 | 2 | 3 | 1407 | 7.75 | 17.44 | 9015 | 8900 | 2014 | n
Distributed Generation -Peak | 2015 | 2013 | 2016 | 1 | 2 | 1689 | 7.75 | 17.44 | 10015 | 9880 | 2014 | n
Biomass | 2015 | 2013 | 2018 | 50 | 4 | 3399 | 5.26 | 105.58 | 13500 | 13500 | 2014 | n
Geothermal | 2015 | 2013 | 2018 | 50 | 4 | 2331 | 0 | 112.85 | 9516 | 9516 | 2014 | n
Muncipal Solid Waste | 2015 | 2013 | 2017 | 50 | 3 | 7730 | 8.74 | 392.6 | 14878 | 18000 | 2014 | n
Conventional Hydropower | 2015 | 2013 | 2018 | 500 | 4 | 2410 | 5.76 | 15.15 | 9516 | 9516 | 2014 | n
Wind | 2015 | 2013 | 2017 | 100 | 3 | 1850 | 0 | 39.53 | 9516 | 9516 | 2014 | n
Wind Offshore | 2015 | 2013 | 2018 | 400 | 4 | 4476 | 0 | 73.96 | 9516 | 9516 | 2014 | n
Solar Thermal | 2015 | 2013 | 2017 | 100 | 3 | 3787 | 0 | 67.23 | 9516 | 9516 | 2014 | n
Photovoltaic | 2015 | 2013 | 2016 | 150 | 2 | 3123 | 0 | 24.68 | 9516 | 9516 | 2014 | n
Coal with 30% carbon sequestration (CCS) | 2016 | 2015 | 2019 | 650 | 4 | 4649 | 6.95 | 68.49 | 9750 | 9221 | 2015 | n
Conv Gas/Oil Comb Cycle | 2016 | 2015 | 2018 | 702 | 3 | 911 | 3.42 | 10.76 | 6600 | 6350 | 2015 | n
Adv Gas/Oil Comb Cycle (CC) | 2016 | 2015 | 2018 | 429 | 3 | 1000 | 1.96 | 9.78 | 6300 | 6200 | 2015 | n
Adv CC with CCS | 2016 | 2015 | 2018 | 340 | 3 | 1898 | 6.97 | 32.69 | 7525 | 7493 | 2015 | n
Conv Comb Turbine | 2016 | 2015 | 2017 | 100 | 2 | 1026 | 3.42 | 17.12 | 9960 | 9600 | 2015 | n
Adv Comb Turbine | 2016 | 2015 | 2017 | 237 | 2 | 632 | 10.47 | 6.65 | 9800 | 8550 | 2015 | n
Fuel Cells | 2016 | 2015 | 2018 | 10 | 3 | 6217 | 44.21 | 0 | 9500 | 6960 | 2015 | n
Adv Nuclear | 2016 | 2015 | 2022 | 2234 | 6 | 5288 | 2.25 | 98.11 | 10449 | 10449 | 2015 | n
Distributed Generation-Base | 2016 | 2015 | 2018 | 2 | 3 | 1448 | 7.98 | 17.94 | 9004 | 8900 | 2015 | n
Distributed Generation - Peak | 2016 | 2015 | 2017 | 1 | 2 | 1739 | 7.98 | 17.94 | 10002 | 9880 | 2015 | n
Biomass | 2016 | 2015 | 2019 | 50 | 4 | 3498 | 5.41 | 108.63 | 13500 | 13500 | 2015 | n
Geothermal | 2016 | 2015 | 2019 | 50 | 4 | 2559 | 0 | 116.12 | 9541 | 9541 | 2015 | n
MSW Landfill Gas | 2016 | 2015 | 2018 | 50 | 3 | 7954 | 9 | 403.97 | 14360 | 18000 | 2015 | n
Conventional Hydropower | 2016 | 2015 | 2019 | 500 | 4 | 2191 | 2.62 | 14.7 | 9541 | 9541 | 2015 | n
Wind10 | 2016 | 2015 | 2018 | 100 | 3 | 1536 | 0 | 45.98 | 9541 | 9541 | 2015 | n
Wind Offshore | 2016 | 2015 | 2019 | 400 | 4 | 4605 | 0 | 76.1 | 9541 | 9541 | 2015 | n
Solar Thermal | 2016 | 2015 | 2018 | 100 | 3 | 3895 | 0 | 69.17 | 9541 | 9541 | 2015 | n
Photovoltaic | 2016 | 2015 | 2017 | 150 | 2 | 2362 | 0 | 21.33 | 9541 | 9541 | 2015 | n