## movers
primemover | n | % | year | code | text
AB | 61 | 0.06148% | 97 | AB | Atmospheric Fluidized Bed Combustion
CA | 183 | 0.1844% | 90-00 | CA | Combined Cycle Steam Turbine with Supplementary Firing
CC | 7 | 0.007055% | 97-00 | CC | Combine Cycle, Total Unit
CE | 5 | 0.005039% | 97-00 | CE | Compressed Air Energy Storage
CG | 4 | 0.004032%
CH | 71 | 0.07156% | 97 | CH | Steam Turbine
CS | 136 | 0.1371% | 90-00 | CS | Combined Cycle Single Shaft (combustion and steam turbines share single generator)
CT | 1018 | 1.026% | 90-00 | CT | Combined Cycle Combustion Turbine
CW | 380 | 0.383% | 90-97 | CW | Combined Cycle Steam Turbine Waste Heat Boiler Only
FC | 10 | 0.01008% | 90-00 | FC | Fuel Cell (electrochemical)
GE | 217 | 0.2187% | 90-97 | GE | Steam Turbine (geothermal)
GT | 12862 | 12.96% | 90-97 | GT | Combustion (gas) Turbine
|  |  | 98-00 | GT | Combustion (Gas) Turbine (includes jet engine design)
HC | 16169 | 16.3% | 90-96 | HC | Hydraulic Turbine (conventional)
HL | 861 | 0.8678% | 90-97 | HL | Hydraulic Turbine (pipeline)
HR | 687 | 0.6924% | 90-96 | HR | Hydraulic Turbine Reversible (pumped storage)
HY | 14990 | 15.11% | 97 | HY | Hydraulic Turbine (conventional)
|  |  | 98-00 | HY | Hydraulic Turbine (includes turbines associated with delivery of water by pipeline)
IC | 28623 | 28.85% | 90-00 | IC | Internal Combustion
IG | 11 | 0.01109% | 90-00 | IG | Integrated Coal Gasification Combined Cycle
JE | 1072 | 1.08% | 90-97 | JE | Jet Engine
NB | 310 | 0.3124% | 90-97 | NB | Steam Turbine (Boiling Water Nuclear Reactor)
|  |  | 90-97 | NG | Steam Turbine (Graphite Nuclear Reactor)
|  |  | 90-97 | NH | Steam Turbine (High-Temperature Gas-Cooled Nuclear Reactor
NP | 637 | 0.642% | 90-97 | NP | Steam Turbine (Pressurized Water Nuclear Reactor
|  |  | 97-00 | OC | Ocean Thermal Turbine
OT | 8 | 0.008063% | 90-00 | OT | Other (Explained in Notes)
PS | 690 | 0.6954% | 97-00 | PS | Hydraulic Turbine Reversible (pumped storage)
PV | 62 | 0.06249% | 97-00 | PV | Photovoltaic
SP | 39 | 0.03931% | 90-97 | SP | Photovoltaic
|  |  | 90-97 | SS | Steam Turbine (Solar)
ST | 19868 | 20.02% | 90-97 | ST | Steam Turbine (Boiler)
|  |  | 90-97 | ST | Steam Turbine, including nuclear, geothermal and solar steam (does not include combined cycle)
|  |  | 90-97 | NA | Unknown at this time
|  |  | 98-00 | NA | Unknown at this time (use only for plants/generators in planning stage)
WT | 237 | 0.2389% | 90-00 | WT | Wind Turbine