## master
code1 | text1 | note
A | Proposed increase in generator capability (rerate or relicense)
BU | Backup -Used only for test purposes, or in the event of an emergency such as a shortage of power needed to meet customer load requirements.
CN | Cancelled
CO | Proposed change in ownership (including change in shares of ownership) | 97-00
CO | New Unit Under Construction | 90-96 (replaced with U/V)
D | Proposed decrease in generator capability (rerate or relicense)
FC | Planned for Conversion t another fuel
IP | Planned Generator Indefinitely Postponed
L | Proposed new generator, regulatory approval pending; not under construction; started site preparation;
LE | environmental, site or legal challenges | from prev work
LP | Low Power Testing (Nuclear Only)
M | Proposed to be put in deactivated shutdown status
MO | Modification planned for an existing generator
OA | out of service but expected to return this year | from prev work
OP | Operating (in commercial service or out of service less than 365 days
OS | Out of Service (365 days or longer)
OT | Other (Explained in Notes)
P | Proposed new generator, planned for installation but not utility authorized; nt under construction
PL | Planned (proposed unit not under construction)
RA | Previously retired or deactivated generator planned for reactivation
RE | Retired
RP | Proposed for life extension or repowering
RT | Scheduled for Retirement
SB | Standby
SC | cold shutdown | from prev work
SD | Sold to nonutility
T | Proposed new generator, regulatory approval received, but not under construction
TS | Testing, Generating Power to the Grid
U | Proposed new generator under construction, less than or equalt 50% complete (based on construction time to first electricity date)
V | Proposed new generator under construction, more than 50$ complete (based on construction time to first electricity date)

## documentation
1990-1991 |  |  |  | 1992-1996 |  |  |  | 1997 |  |  |  | 1998-2000
code1 | text1 | code2 | text2 | code1 | text1 | code2 | text2 | code1 | text1 | code2 | text2 | code1 | text1
OP | Operating (in commercial service or out of service less than 365 days | CN | Cancelled | OP | Operating (in commercial service or out of service less than 365 days | CN | Cancelled | OP | Operating (available to operate) r on short-term scheduled/forced outage (less than three months) | A | Proposed increase in generator capability (rerate or relicense) | A | Proposed generator capability increase (rerating or relicensing)
OS | Out of Service (365 days or longer) | CO | New Unit Under Construction | OS | Out of Service (365 days or longer) | CO | New Unit Under Construction | OS | On long-term scheduled (maintenance) or forced outage (greater than three months) | CO | Proposed change in ownership (including change in shares of ownership) | BU | Backup -Used only for test purposes, or in the event of an emergency such as a shortage of power needed to meet customer load requirements.
SB | Standby | FC | Planned for Conversion t another fuel | SB | Standby | FC | Planned for Conversion t another fuel | RE | Retired (no longer in service and not expected to be returned to service) | D | Proposed decrease in generator capability (rerate or relicense) | CO | Proposed change of ownership (including change of shares of jointly-owned units)
SC | (see master) |  |  | SC | (see master) |  |  | SB | Cold standby reserve: deactivated (mothballed), in long-term stotate and cannot be made available for service in a short period of time, usually three to six months to activate | FC | Generator planned for conversion t another fuel or energy source | D | Proposed generator capability decrease (rerating or relicensing)
SD | Sold to nonutility | IP | Planned Generator Indefinitely Postponed | SD | Sold to nonutility | IP | Planned Generator Indefinitely Postponed | SD | Sold to nonutility | IP | Proposed new generator canceled or indefinitely postponed | FC | Existing generator planned for conversion to another fuel or energy source
TS | Testing, Generating Power to the Grid | LP | Low Power Testing (Nuclear Only) | TS | Testing, Generating Power to the Grid | LP | Low Power Testing (Nuclear Only) |  |  | L | Proposed new generator, regulatory approval pending; not under construction; started site preparation; | IP | Planned new generator cancelled, indefinitely postponed, or no longer in resource plan
|  | MO | Modification planned for an existing generator |  |  | MO | Modification planned for an existing generator |  |  | M | Proposed to be put in deactivated shutdown status | L | Regulatory approval pending. Not under construction (started site preparation)
|  | PL | Planned (proposed unit not under construction) |  |  | PL | Planned (proposed unit not under construction) |  |  | OT | Other | M | Generator to be put in deactivated shutdown status
|  | RE | Retired |  |  | RE | Retired |  |  | P | Proposed new generator, planned for installation but not utility authorized; nt under construction | OP | Operating - in service (commercial operation) and producing some electricity.
|  | RT | Scheduled for Retirement |  |  | RT | Scheduled for Retirement |  |  | RA | Previously retired or deactivated generator planned for reactivation | OS | Out of Service - units that could not be used for the reporting year, but expected to be returned to service in the future.
|  | SD | Sold to nonutility |  |  | SD | Sold to nonutility |  |  | RP | Proposed for life extension or repowering | OT | Other (describe under "notes")
|  | OT | Other (Explained in Notes) |  |  | OT | Other (Explained in Notes) |  |  | RT | Scheduled for Retirement | P | Planned for installation but not utility authorized. Not under construction
[10 empty] | T | Proposed new generator, regulatory approval received, but not under construction | RA | Previously retired or deactivated generator planned for reactivation
cols 1 |  | cols2 |  | cols 1 |  | cols2 |  |  |  | TS | Proposed new generator, construction complete, but not yet in commercial operation (including low power testing of nuclear units) | RE | Retired - no longer in service and not expected to be returned to service.
OP | SD |  | CN | OP | SD |  | CN |  |  | U | Proposed new generator under construction, less than or equalt 50% complete (based on construction time to first electricity date) | RP | Proposed for life extension or repowering
OS | RE |  | CO | OS | RE |  | CO |  |  | V | Proposed new generator under construction, more than 50$ complete (based on construction time to first electricity date) | RT | Existing generator scheduled for retirement
SB |  |  | FC | SB |  |  | FC |  |  |  |  | SB | Standby - available for service but not normally used (has little or no generation for the year).
TS |  |  | IP | TS |  |  | IP |  |  |  |  | T | Regulatory approval received but not under construction
|  |  | MO |  |  |  | MO |  |  |  |  | TS | Construction complete, but not yet in commercial operation (including lower power testing of nuclear units)
|  |  | PL |  |  |  | PL |  |  |  |  | U | Under construction, less than or equal to 50 percent complete (based on construction time to first electric date)
|  |  | RT |  |  |  | RT |  |  |  |  | V | Under construction, more that 50 percent complete (based on construction time to first electric date)
|  |  | OT |  |  |  | OT |  |  |  |  | CN | Cancelled the Project

## 1990-1994
status | text1 | n | n_avg | %avg | n
1
blank |  | 15604 | 3120.8 | 23.1%
OP | Operating (in commercial service or out of service less than 365 days | 44245 | 8849 | 65.5%
OS | Out of Service (365 days or longer) | 1002 | 200.4 | 1.483%
SB | Standby | 5836 | 1167.2 | 8.64%
SC |  | 735 | 147 | 1.088%
TS | Testing, Generating Power to the Grid | 125 | 25 | 0.1851%
2 |  | totaln | totaln_avg | total%avg
blank |  | 49382 | 9876.4 | 73.11%
CN | Cancelled | 19 | 3.8 | 0.02813%
FC | Planned for Conversion t another fuel | 52 | 10.4 | 0.07698%
LE |  | 257 | 51.4 | 0.3805%
MO | Modification planned for an existing generator | 415 | 83 | 0.6144%
RA |  | 35 | 7 | 0.05182%
RE | Retired | 15009 | 3001.8 | 22.22%
RP |  | 134 | 26.8 | 0.1984%
RT | Scheduled for Retirement | 1712 | 342.4 | 2.535%
SD | Sold to nonutility | 532 | 106.4 | 0.7876%
status2¦1==OP
|  | totaln | totaln_avg | total%avg
blank |  | 42060 | 8412 | 95.06%
FC | Planned for Conversion t another fuel | 37 | 7.4 | 0.08363%
LE |  | 237 | 47.4 | 0.5357%
MO | Modification planned for an existing generator | 389 | 77.8 | 0.8792%
RP |  | 109 | 21.8 | 0.2464%
RT | Scheduled for Retirement | 1413 | 282.6 | 3.194%
status2¦1 %in% OP, SB
|  | totaln | totaln_avg | total%avg
blank |  | 47714 | 9542.8 | 95.27%
FC | Planned for Conversion t another fuel | 40 | 8 | 0.07987%
LE |  | 244 | 48.8 | 0.4872%
MO | Modification planned for an existing generator | 389 | 77.8 | 0.7767%
RP |  | 112 | 22.4 | 0.2236%
RT | Scheduled for Retirement | 1582 | 316.4 | 3.159%

## 1995-2000
status | text | n | n_avg | %avg | NOTE
1
blank |  | 14 | 2.8 | 0.02069% | (1995-1996)
OP | Operating (in commercial service or out of service less than 365 days | 58275 | 9712.5 | 71.78%
OS | Out of Service (365 days or longer) | 849 | 141.5 | 1.046%
RE | Retired | 17589 | 2931.5 | 21.67% | (prev. status 2)
SB | Standby | 1146 | 191 | 1.412%
SD | Sold to nonutility | 3310 | 551.6667 | 4.077% | (prev. status 2)
status | text | n | n_avg | %avg | NOTE
2 |  |  |  |  | (1995-1997 only)
blank |  | 79332 | 15866.4 | 97.72%
A | Proposed increase in generator capability (rerate or relicense) | 357 | 71.4 | 0.4397%
CN |  | 5 | 1 | 0.006159% | 95-96
CO | Proposed decrease in generator capability (rerate or relicense) | 192 | 38.4 | 0.2365% | 97
D | Proposed decrease in generator capability (rerate or relicense) | 47 | 9.4 | 0.05789%
FC | Generator planned for conversion t another fuel or energy source | 19 | 3.8 | 0.0234%
IP | Proposed new generator canceled or indefinitely postponed | 12 | 2.4 | 0.01478% | 95-96
LE |  | 3 | 0.6 | 0.003695% | 95
M | Proposed to be put in deactivated shutdown status | 33 | 6.6 | 0.04065%
OT | Other | 6 | 1.2 | 0.007391% | 95-96
P | Proposed new generator, planned for installation but not utility authorized; nt under construction | 1 | 0.2 | 0.001232% | 95
RA | Previously retired or deactivated generator planned for reactivation | 60 | 12 | 0.07391%
RP | Proposed for life extension or repowering | 259 | 51.8 | 0.319%
RT | Scheduled for Retirement | 853 | 170.6 | 1.051%
TS | Proposed new generator, construction complete, but not yet in commercial operation (including low power testing of nuclear units) | 4 | 0.8 | 0.004927% | 95
status2¦1 %in% OP, SB
|  | totaln | totaln_avg | total%avg
blank |  | 57641 | 11528.2 | 97%
A | Proposed increase in generator capability (rerate or relicense) | 354 | 70.8 | 0.5957%
CO | Proposed decrease in generator capability (rerate or relicense) | 191 | 38.2 | 0.3214%
D | Proposed decrease in generator capability (rerate or relicense) | 47 | 9.4 | 0.0791%
FC | Generator planned for conversion t another fuel or energy source | 18 | 3.6 | 0.03029%
IP | Proposed new generator canceled or indefinitely postponed | 5 | 1 | 0.008415%
LE |  | 3 | 0.6 | 0.005049%
M | Proposed to be put in deactivated shutdown status | 27 | 5.4 | 0.04544%
OT | Other | 6 | 1.2 | 0.0101%
P | Proposed new generator, planned for installation but not utility authorized; nt under construction | 1 | 0.2 | 0.001683%
RA | Previously retired or deactivated generator planned for reactivation | 48 | 9.6 | 0.08078%
RP | Proposed for life extension or repowering | 242 | 48.4 | 0.4073%
RT | Scheduled for Retirement | 834 | 166.8 | 1.404%
TS | Proposed new generator, construction complete, but not yet in commercial operation (including low power testing of nuclear units) | 4 | 0.8 | 0.006732%

## 1990-2000
status | text | n | n_avg | %avg | NOTE
status2¦1 %in% OP, SB
blank |  | 105355 | 9577.7273 | 96.21%
A | Proposed increase in generator capability (rerate or relicense) | 354 | 32.1818 | 0.3233%
CO | Proposed decrease in generator capability (rerate or relicense) | 191 | 17.3636 | 0.1744%
D | Proposed decrease in generator capability (rerate or relicense) | 47 | 4.2727 | 0.04292%
FC | Generator planned for conversion t another fuel or energy source | 58 | 5.2727 | 0.05297%
IP | Proposed new generator canceled or indefinitely postponed | 5 | 0.45455 | 0.004566%
LE |  | 247 | 22.4545 | 0.2256%
M | Proposed to be put in deactivated shutdown status | 27 | 2.4545 | 0.02466%
MO |  | 389 | 35.3636 | 0.3552%
OT | Other | 6 | 0.54545 | 0.005479%
P | Proposed new generator, planned for installation but not utility authorized; nt under construction | 1 | 0.090909 | 0.0009132%
RA | Previously retired or deactivated generator planned for reactivation | 48 | 4.3636 | 0.04383%
RP | Proposed for life extension or repowering | 354 | 32.1818 | 0.3233%
RT | Scheduled for Retirement | 2416 | 219.6364 | 2.206%
TS | Proposed new generator, construction complete, but not yet in commercial operation (including low power testing of nuclear units) | 4 | 0.36364 | 0.003653%